Re-evaluate

Has Crew Located Fire?

Fire Contained?

Establish Water Supplies

Suppression System Used?

System Effective??

Offensive Ops Reqr’d?

Defensive Ops Reqr’d?

Establish Boundary Cooling

Establish Fire Boundaries

Augment Crew Efforts

Conduct Operations

No

Assist Crew -  Secure Openings

Locate

Fire

Crew Discharge Fixed System

Develop Strategy/Tactics

Prepare Attack /RIT Teams

Maintain Boundary Cooling

Recharge Fixed System

Maintain Fixed System

Continue Temp Monitoring

# Develop Strategy/Tactics

No

No

No

No

No

Yes

Yes

Yes

Yes

Yes

Yes

N/A